## all_prototypes
| weight | [17 empty] | temperature test | [23 empty] | pre-production test; unusual offset!!! | broken during transport. Re-measurement | fell down, completely useless (Tare not working)
Product ID |  | 81430907 | 81430908 | 81430910 | 81430911 | 81430912 | 81430912-second | 81430913 | 81430914 | 81430915 | 81430909 | 81430916 | 81430918 | 81430917 | 81430923 | 81430929 | 81430928 | 81430927 | 81430926 | 81430921 | 81430920 | 81430919 | 81430925 | 81430924 | 81430922 | 81430946 | 81430938 | 81430943 | 81430939 | 81430941 | 81430931 | 81430930 | 81430942 | 81430947 | 81430944 | 81430935 | 81430936 | 81430945 | 81430932 | 81430934 | 81430933 | 81430940 | 81430937 | 81430917 | 81430938
Offset | 0 | 385062 | 298328 | 312938 | 315867 | 314203 | 324250 | 330408 | 365433 | 198166 | 80068 | 270426 | 394493 | 286818 | 435657 | 334239 | 254880 | 346318 | 276813 | 300892 | 310687 | 270044 | 309609 | 279162 | 304094 | 281593 | 394991 | 440820 | 312812 | 358656 | 358121 | 675360 | 300648 | 305561 | 295340 | 288605 | 317463 | 314074 | 327261 | 319559 | 322059 | 652999 | 4141467 |  | 4291762917
Calib 1 | 110 | 547684 | 433248 | 446439 | 441096 | 455576 | 457951 | 456306 | 523613 | 333225 | 203486 | 392784 | 557082 | 414619 | 556855 | 419097 | 376250 | 480345 | 391763 | 427474 | 432999 | 397339 | 441340 | 399054 | 432747 | 405917 | 556691 | 559163 | 448068 | 520811 | 521468 | 802258 | 426238 | 440984 | 420559 | 404549 | 453971 | 451512 | 464121 | 452765 | 447401 | 757798 | 4263355 | 4950757 | 4291927649
Calib 2 | 219 | 707983 | 562630 | 577590 | 564550 | 588394 | 590510 | 580940 | 672872 | 464008 | 325815 | 514937 | 721744 | 540389 | 703855 | 594547 | 492242 | 612603 | 510912 | 552947 | 558605 | 518675 | 574993 | 520954 | 561959 | 527825 | 718765 | 705700 | 579523 | 680240 | 682778 | 927602 | 547494 | 571670 | 544593 | 527779 | 585320 | 575624 | 599072 | 580466 | 573005 | 894446 | 4384428 | 5075584 | 4292051803
Calib 3 | 328 | 869207 | 692420 | 709960 | 689355 | 722240 | 723651 | 705712 | 825870 | 595268 | 448577 | 637571 | 884691 | 666179 | 835552 | 724308 | 610456 | 745872 | 630656 | 678167 | 680863 | 641166 | 705718 | 643564 | 692849 | 651184 | 881386 | 837601 | 712096 | 841498 | 842895 | 1053236 | 670961 | 702832 | 666806 | 649580 | 717823 | 706328 | 735889 | 708711 | 699108 | 1014938 | 4506181 | 5201354 | 4292248854
Calib 4 | 438 | 1030973 | 822852 | 843385 | 812313 | 856450 | 856784 | 831238 | 979772 | 727270 | 571256 | 760549 | 1046421 | 792768 | 967178 | 855590 | 728752 | 878045 | 749040 | 803044 | 805587 | 764283 | 837381 | 765612 | 823551 | 776705 | 1046137 | 970819 | 845416 | 1002044 | 1004943 | 1180215 | 795837 | 834554 | 793401 | 771076 | 851311 | 837859 | 874201 | 838419 | 826136 | 1136611 | 4627893 | 5327790 | 4292405504
Calib 5 | 547 | 1191538 | 951789 | 974253 | 935855 | 989767 | 988626 | 955851 | 1132502 | 858237 | 693331 | 882266 | 1207721 | 918259 | 1099497 | 985834 | 846592 | 1008891 | 866378 | 929875 | 928751 | 888386 | 967807 | 888080 | 951195 | 901382 | 1207734 | 1102103 | 976542 | 1160493 | 1162918 | 1304698 | 917908 | 966389 | 914526 | 891260 | 982197 | 967770 | 1007838 | 967055 | 952016 | 1256213 | 4748692 | 5452337 | 4292532864
Calib 6 | 657 | 1353321
detection only at >200g
calculated slope: |  | 1473.1292 | 1186.9197 | 1208.9888 | 1131.9994 | 1222.7242 | 1214.6585 | 1143.0807 | 1394.9529 | 1201.5422 | 1120.8861 | 1120.3795 | 1487.5978 | 1152.4776 | 1233.8293 | 1275.786 | 1077.0314 | 1209.9996 | 1086.3242 | 1148.1193 | 1133.1048 | 1123.2413 | 1203.3997 | 1118.6703 | 1188.003 | 1134.3234 | 1490.815 | 1236.0224 | 1210.2852 | 1464.9271 | 1468.4941 | 1150.4978 | 1126.8873 | 1201.915 | 1131.5166 | 1113.1862 | 1209.9218 | 1184.5948 | 1246.6305 | 1177.0675 | 1154.9509 | 1133.5458 | 1110.8299 | 1148.5511 | 1431.0609
calculated offset: |  | 385663.6463 | 302803.3649 | 313293.4632 | 316885.2117 | 320942.7807 | 324610.558 | 330621.7043 | 368823.2753 | 201015.1455 | 80394.0106 | 269688.7855 | 395004.6696 | 287969.1413 | 427397.8603 | 296907.086 | 257161.2839 | 347787.344 | 273000.9256 | 301259.007 | 309249.3879 | 273097.3548 | 310251.326 | 276081.459 | 302320.0104 | 280090.7956 | 392558.9659 | 429167.4565 | 314871.3251 | 359935.1249 | 360746.927 | 675778.3318 | 301617.8103 | 308576.9098 | 296386.9648 | 283278.4591 | 320786.0908 | 318797.6784 | 326830.7559 | 322934.2322 | 320247.34 | 639744.7568 | 4141313.2602 | 4824380.2041 | 4291763374.3983
r^2 |  | 1 | 1 | 1 | 0.99999 | 1 | 1 | 1 | 0.99998 | 1 | 1 | 1 | 0.99997 | 1 | 0.99946 | 0.99579 | 0.99999 | 0.99999 | 0.99998 | 0.99999 | 0.99998 | 0.99999 | 0.99998 | 1 | 0.99998 | 0.99998 | 1 | 0.99951 | 1 | 0.99999 | 0.99999 | 1 | 0.99999 | 1 | 0.99998 | 0.99997 | 1 | 0.99991 | 0.99998 | 1 | 1 | 0.99928 | 1 | 1 | 0.99455
load cell S/N |  |  | J1737805 |  | J1737796 |  |  | J1737799 | J1737778 | [7 empty] | J1737782 | J1737806 | J1737780 | J1737784 |  | J1737777 |  | J1737789 |  | J1737785 | J1737804 | J1737802 | J1737774 | J1737800 | J1737788 | J1737776 | J1737779 | J1737794 | J1737793 | J1737781 | J1737807 | J1737791 | J1737798 | J1737775 | J1737803 | J1737772 | J1737770 | J1737783 | J1737804
load cell sensitivity |  |  | 1.558 |  | 1.5388 |  |  | 1.5409 | 1.5489 | [7 empty] | 1.5365 | 1.5506 | 1.5402 | 1.5369 |  | 1.5412 |  | 1.5421 |  | 1.5336 | 1.552 | 1.5399 | 1.5478 | 1.5397 | 1.5548 | 1.5321 | 1.5589 | 1.5382 | 1.5367 | 1.5488 | 1.5523 | 1.54 | 1.5782 | 1.5354 | 1.5528 | 1.5342 | 1.5378 | 1.5378 | 1.552
rfid frequency |  |  | 125.36 |  | 125 | 124.67 |  | 125.1 | 123.72 | 126.34 | 124.83 | 121 | 123.6 | 125.88 | 125.18 | 124.78 | 125.68 | 125.4 | 125.86 | 124.78 | 124.28 | 124.51 |  | 123.6 | 126.06 |  | 125.3 | 126.36 | ? | 128 | 126.5 | ? | 124.88 | 125.85 | 125.35 | 125.5 | 125.8 | 127.12 | 124.26 | 125 | 126.24
rfid range (qualitative) |  |  | high | high | low | high |  | high | high | high | high | medium | high | high | low | high | high | VERY HIGH | high | low | high | very high |  | very high | high | high | high | high | high | high | very high | high | high | very high | very high | high | medium | high | high | medium | high |  | medium low | medium low
rfid range (measured) |  |  | 6cm | 6cm | 6cm | 6m |  | 6cm | 6cm | 6cm | 6cm | <6cm | <6cm | <6cm | [11 empty] | > 4.5 cm | > 4.5 cm | > 4.5 cm | > 4.5 cm | > 4.5 cm | 3 cm | > 4.5 cm | > 4.5 cm | > 4.5 cm | > 4.5 cm | > 4.5 cm | > 4.5 cm | > 4.5 cm | > 4.5 cm | > 4.5 cm | > 4.5 cm | > 4.5 cm
rfid properties | [26 empty] | high temp pcb | [12 empty] | "potentially RFID destroyed; Tested"